ATTACHMENT A

##### Lease Number

DTFA__-___-_______

I.	SECTION A - GENERAL BUILDING REQUIREMENTS AND SPECIFICATIONS

A1-Ceilings (10/96)

Must have acoustical treatment with a flame spread of 25 or less and smoke development rating of 50 or less.

A2-Doors (10/96)

Exterior doors shall be weather tight, equipped with cylinder locks and door checks, automatic door closures and open outward.  The FAA will be furnished at least two master keys and two keys for each lock.  Interior doors must be solid cord and at least 32 by 80 inches with a minimum opening of 32 inches and be of sturdy construction.   Fire doors shall conform to NFPA Standard No. 80.  As designated by the FAA, doors shall be equipped with non-removable hinge pins, and “Best” locks with 7-pin removable cores.  The FAA shall provide cores.

A3-Floor Load (8/02)

All adjoining floor areas shall be 1) of a common level not varying more than 1/4 inch over a 10-foot, 0-inch horizontal run in accordance with the American Concrete Institute standards, 2) non-slip, and 3) acceptable to the Real Estate Contracting Officer.  Under floor surfaces shall be smooth and level.  Office areas shall have a minimum live load capacity of 50 pounds per square foot plus 20 pounds per square foot for moveable partitions.  Storage areas shall have a minimum live load capacity of 100 pounds per square foot including moveable partitions.  A report showing the floor load capacity, at no cost to the Government, by a registered professional engineer may be required by the Contracting Officer.

## A4-General Health and Safety Standards (8/02)

Local Health, Environmental (OSHA and EPA), and Safety Standards and Building Codes shall be complied with when accomplishing any cleaning, construction, renovation, remodeling, maintenance or testing done in the leased space and areas connected to or integrated with the leased space.   Whenever FAA Standards require work processes or precautions to be provided, the Lessor shall coordinate with the FAA during the work so that proper requirements are met.

A5-HVAC (10/96)

Heating, ventilation and air-conditioning systems are required which maintain a temperature range of 68-72 degrees Fahrenheit year-round.  These temperatures must be maintained throughout the leased premises and service areas regardless of outside temperatures during hours of operation.  For further information see ASHRAE standard ANSI/ ANSI/ASHRAE 62-1999 - Ventilation for Acceptable Indoor Air Quality.

A6-Lighting (10/96)

Modern, diffused, energy efficient (T-8 or better) fluorescent fixtures shall be provided maintaining a uniform lighting level of 50 foot candles at working surfaces. Emergency lighting must provide at least 0.5 foot candles of illumination throughout the exit path, including exit access routes, exit stairways, or other routes such as passageways to the outside of the building.

### A7-Painting (8/02)

Prior to occupancy all surfaces must be newly painted with non-lead based paints in colors acceptable to the FAA.  All surfaces must be repainted after working hours at Lessor’s expense at least every five years.  This includes moving and return of the furniture.

Any existing lead based paint shall be properly maintained and managed per existing regulatory requirements.  If there is flaking paint, it would need to be sampled for lead.  If containing lead, it would need to be abated prior to occupancy.  This could be done either by removal or sealing with an encapsulating material.

A8-Parking (10/06)

At no additional cost to the FAA, the Lessor shall provide ** reserved off-street parking spaces located **.  The Lessor shall maintain the parking areas in good repair and provide snow and ice removal.

A9- Prior Notification (8/02)

A pre-construction meeting shall be held at the facility prior to the commencement of any cleaning, construction, renovation, remodeling, repair, maintenance or testing within the leased premises and areas connected to or integrated with the leased premises.  If any items on the checklist are questionable or undone, full resolution of the issues will be expected before the project starts.  The pre-construction meeting will be planned, scheduled, and coordinated, with the Government’s supervisor or manager responsible for the facility, at least one week before the execution of the work.

A10-Restrooms and Drinking Fountains (10/96)

Separate toilet facilities for men and women shall be provided on each floor where the FAA leases space.  Water closets and urinals shall not be visible when the exterior door is open.  Each toilet room shall contain toilet paper dispensers, soap dispensers, paper towel dispensers, waste receptacles; a coin operated sanitary napkin dispenser with receptacle for each women's toilet, disposable toilet seat cover dispensers, a convenience outlet, and hot and cold water for all restrooms.  (The FAA will advise if additional facilities are required.).  The Lessor shall provide a minimum of one chilled drinking fountain on each floor where the FAA leases space.

A11-Window and Floor Covering (8/02)

All exterior windows shall be equipped with window covering.  Floors will be carpeted with a commercial grade of carpet acceptable to the FAA.  Existing floor and window covering may be accepted at the discretion of the Real Estate Contracting Officer however, prior to occupancy all carpeting and window covering shall be cleaned.

At no additional cost to the FAA, the Lessor shall replace carpeting at least every eight (8) years during FAA occupancy or any time during the lease when:

- Backing or underlayment is exposed

- There are noticeable variations in surface color or texture

Replacement includes moving and return of furniture.

II.	SECTION B - SERVICES, UTILITIES, AND MAINTENANCE

B1-Grounds Maintenance (10/96)

The Lessor shall maintain in good condition landscape plants and lawns.  The Lessor shall also remove snow and ice from the entrances, exterior walks and parking areas around the premises, prior to and during the Government’s normal operating hours.

B2-Pest Control (8/02)

The Lessor shall exterminate and control pests within the premises within a timely manner as required by the Government.  Notice shall be provided to the users of the building before any application of herbicide(s)/pesticide(s) or other chemical pest control.  OSHA requirements for Hazard Communication shall apply for the use of hazardous materials used in pest control.  Copies of Material Safety Data Sheets (MSDS) for all chemicals applied shall be provided to the FAA before application.  Only licensed applicators shall be allowed to apply chemicals.  Herbicides/pesticides are not to be applied near the outside air intakes of the building during normal working hours and when the system is in operation.

# B3-Services and Facilities (10/96)

The Lessor shall provide to the Government, as part of the rental consideration, the following:

- Heating, air conditioning, and ventilation that provide for the comfortable occupancy of the premises.  Temperatures will be thermostatically controlled to maintain a temperature of 68 - 72 degrees Fahrenheit.  These temperatures must be maintained throughout the leased premises and service areas, regardless of outside temperatures, during the FAA's normal hours of operation.

- Electrical power to the premises for the operation of lights, communications equipment, and office machines.

- Water (hot and cold) and sewer to leased premises.

- Trash removal for leased premises.

B4-Utilities Not Provided By The Lessor (10/96)

If the cost of utilities is not included as part of the rental consideration, the Lessor must specify which utilities are excluded.  The Lessor shall provide separate meters for utilities to be paid for by FAA.  When FAA is to pay for utilities, the lessor will furnish the Real Estate Contracting Officer, prior to occupancy by the FAA, written verification of the meter numbers and certification that these meters will measure FAA usage only.   Proration is not permissible.  If the cost of utilities for heating, ventilation, and air conditioning is not included as part of the rental considerations, an automatic control system will be provided to assure compliance with heating and air conditioning provisions included in this specifications package.

III.	SECTION C - SAFETY AND FIRE PREVENTION

C1-Fire and Safety Requirements (8/02)

All NFPA Standards addressed in this section reference the current edition of NFPA in place at the signing of this contract.  At any point when construction takes place, systems should be brought into compliance according to the current edition of NFPA. The building shall, as required by Code, be equipped with automatic sprinklers which conform to NFPA No. 13, be maintained in accordance with NFPA No. 13A, have electrically supervised control valves (NFPA No. 13), and have water-flow alarm switches connected to automatically notify the local fire department (NFPA No. 72) or central station (NFPA No. 71).  The notification of the fire department or central station shall be accomplished through the building fire alarm system.  Regardless of code requirements when the leased space (including garage areas under lease by the FAA) is on the 6th floor and above, or below grade, sprinklers are required.

A manual fire alarm system shall be provided, maintained, and tested by the lessor in accordance with NFPA Standard No. 71 and 72 in buildings, which are three (3) or more stories in height or contain more than 50,000 square feet gross floor area.  The fire alarm system wiring and equipment must be electrically supervised and automatically notify the local fire department and conform to NFPA Standards No. 70 and 72.  Engineered smoke control systems, if present, shall be maintained in accordance with the manufacturer’s recommendations.

Fire-safety, equivalent to the requirements stated above in this clause, may be accepted, at the discretion of the Real Estate Contracting Officer, if certified by a Licensed Fire Protection Engineer.

Portable fire extinguishers shall be provided, inspected, and maintained by the lessor in accordance with NFPA Standard No.10.

C2-Halon (8/02)

Wherever halon is used in a facility as a fire extinguishing system, the Lessor shall comply with all NFPA standards regarding use of and safety requirements for the use of halon.

C3-Indoor Air Quality (8/02)

The Lessor shall control contaminants at the source and/or operate the space in such a manner that the indicator levels for carbon monoxide (CO), carbon dioxide (CO2), and formaldehyde (HCHO), are not exceeded.  The indicator levels for office area are as follows:  CO-9 parts per million (PPM) time weighted average  (TWA - 8-hour sample); CO2 - 1,000 PPM (TWA); HCHO - 0.1 PPM (TWA).  All indoor air contaminant levels in leased space will be kept below appropriate OSHA regulations or Consensus standards, whichever is stricter.  Air quality and facility cleaning will be adequate to prevent the growth of mold, mildew and bacteria.  Any visual evidence of these will require immediate sampling and remediation. Moisture/standing water will be controlled to prevent the growth of these.

During working hours, ventilation shall be provided in accordance with the latest edition of ANSI/ASHRAE Standard 62, Ventilation for Acceptable Indoor Air Quality.  The FAA HVAC Checklist shall be reviewed with the Preconstruction checklist at the preconstruction meeting.

The Lessor shall promptly investigate indoor air quality (IAQ) complaints and shall implement controls including alteration of building operating procedures (e.g., adjusting air intakes, adjusting air distribution, cleaning and maintaining HVAC, etc.).  The FAA is responsible for addressing IAQ problems resulting from its own activities.

MSDS will be provided for all cleaning solutions used in the FAA spaces.

C4-OSHA Requirements (10/96)

The Lessor shall provide space, services, equipment, and conditions that comply with Occupational Safety and Health Administration (OSHA) safety and Health standards (29 CFR 1910 and 1926).

C5-Radon (10/96)

Radon levels in space leased to the FAA shall not equal or exceed the EPA action level for homes of four (4 ) picocuries per liter (PCI/L).  If radon levels are found to be at or above 4 PCI/L, the Lessor shall develop and promptly implement a plan of corrective action.

C6-Refrigerants (8/02)

The Lessor shall identify which refrigerants are used in the HVAC systems in the spaces covered by this lease.  The lease should provide for use of refrigerants consistent with EPA and ASHRAE requirements.

C7-Warranty Of Space (8/02)

(a) Notwithstanding inspection and acceptance by the Government or any provision concerning the conclusiveness thereof, the Lessor warrants that all space leased to the Government under this contract, spaces above suspended ceilings in the leased space, air plenums elsewhere in the building which service the leased space, engineering spaces in the same ventilation zone as the leased space, public spaces and common use space (e.g., lobbies, hallways) will, at the time of acceptance and during the term of the lease contract, comply with the asbestos containing material (ACM) and polychlorinated biphenyl (PCB) requirements of the Toxic Substance Control Act.  The Real Estate Contracting Officer shall notify the Lessor in writing, within 30 days after the discovery, of any failure to comply with the asbestos requirement.  With any construction work, lessor would be required to comply with the OSHA regulations for Asbestos and relevant FAA orders.

(b) The leased premises shall be free of all asbestos-containing material, PCB’s, Radon, and other environmentally hazardous substances.   If either ACMs or PCBs are found to be in the leased space the Government reserves the right to require the Lessor, at no cost to the GOVERNMENT, to take whatever corrective action as might be required by the Toxic Substance Control Act, EPA regulations and state requirements.  All facilities constructed prior to 1981 are to have an asbestos building survey conducted by a qualified inspector including a visual examination and bulk sampling.  All ACM survey reports are to be made available to the Real Estate Contracting Officer.

(c) If the Lessor fails, after receipt of notice, to make correction within the specified period of time, the Government shall have the right to make correction and charge to the Lessor the costs occasioned to the FAA or terminate the lease agreement at no cost to the Government.

(d) The rights and remedies of the FAA in this clause are in addition to any other rights and remedies provided by the law and under this contract.

(e) Definitions.

(1) "Acceptance", as used in this clause means the act of an authorized representative of the Government by which the Government assumes for itself, or as an agent of another, the leased premises as ready for occupancy or approves a portion of the premises for occupancy in accordance with the provisions of this lease contract.

(2) "Correction", as used in this clause, means (i) the removal, encapsulation or enclosure of any friable asbestos materials found in the space leased to the Government, spaces above suspended ceilings in the leased space, air plenums elsewhere in the building which service the leased space, public spaces, engineering spaces in the same ventilation zone as the leased space and common use space (e.g., lobbies, hallways). Following such abatement actions, the Lessor shall adhere to the FAA's required post-asbestos-abatement air monitoring program.  (ii) With regard to non-friable asbestos materials in good condition, it means the establishment and execution of a special operations and maintenance program and an abatement plan, approved by the Government, to be implemented from the time the materials are discovered through the remainder of the lease term, and (iii) with regard to PCBs, it involves the removal or retrofitting, in accordance with EPA regulations, of any PCB equipment present in the building.

IV.	SECTION D – MISCELLANEOUS

D1-Adjustment For Vacant Premises (10/96)

If the Government fails to occupy any portion of the leased premises or vacates the premises in whole or in part prior to expiration of the firm term of the lease, the rental rate shall be reduced as follows: The rate shall be reduced by that portion of the costs per square foot of operating expenses not required to maintain the space.  Said reduction shall occur after the Government gives 30 days prior notice to the Lessor, and shall continue in effect until the Government occupies the premises or the lease expires or is terminated.

# D2 - Condition Report (10/96)

A joint physical survey and inspection report of the demised premises will be made as of the effective date of this lease, reflecting the then present condition, and will be signed on behalf of the parties hereto.

# D3 - Contracting Officer’s Representative (10/96)

The Lessor shall address all questions concerning this lease to  **  who has been appointed the Contracting Officer's Representative for the administration of this lease, as written.

D4-Day to Day Extension (8/02)

The Government shall continue to occupy the premises for not to exceed ___________days after the end of the occupancy period covered by the basic lease term and any options that have been exercised.  In such event, the rent shall accrue on a daily basis at the rate equal to one-thirtieth of the monthly rent of the last previously due monthly rent, until one of the following events occurs: (1) the __________day period expires: (2) a new lease commences, (3) the Government acquires a fee simple interest in the property or (4) the Government vacates the leased premises; whichever occurs first.  The accrued rent computed on a daily basis shall be due and payable in arrears at the end of each month until the amount accrued by the end of the month has been fully paid.

D5 - Display Advertising (10/96)

If the leased premises are solely for Government use, no advertising matter shall be constructed on or over the premises, unless authorized by the Real Estate Contracting Officer.

# D6 - Erection of Signs (10/96)

The Government shall have the right to erect on or attach to the Lessor's premises such signs as may be required to clearly identify the Government's facility.  Said signs so erected will remain the property of the Government and shall be removed from the premises upon termination of the Lease.

D7 - Hold Harmless (10/96)

In accordance with and subject to the conditions, limitations and exceptions set forth in the Federal Tort Claims Act of 1948, as amended (28 USC 2671 et. seq.), hereafter termed "the Act" the Government will be liable to persons damaged by any personal injury, death or injury to or loss of property, which is caused by a negligent or wrongful act or omission of an employee of the Government while acting within the scope of his office or employment under circumstances where a private person would be liable in accordance with the law of the place where the act or omission occurred.  The foregoing shall not be deemed to extend the Government's liability beyond that existing under the Act at the time of such act or omission or to preclude the Government from using any defense available in law or equity.

# D8 - If Minimum Not Delivered (10/96)

If delivered space contains less than the minimum square footage, the Government may cancel the lease.  If such cancellation occurs, the Government may exercise it’s legal rights including charging the Lessor and its surety the increased cost of providing replacement space.

D9-Installation Of Antennas, Cables And Other Appurtenances (10/96)

The FAA shall have the right to install, operate and maintain antennas, wires and their supporting structures including any linking wires, connecting cables and conduits atop and within buildings and structures, or at other locations, as deemed necessary by the Government.

D10 - Interest For Late Payments (10/96)

If requested from the Lessor, the Government will pay an interest penalty when payment is not made within (30, 45, 60, 90, etc.)*** days of the due date.

Payment shall be considered as being made on the day a check is dated or an electronic funds transfer is made.  All days referred to in this clause are calendar days, unless otherwise specified.  Rent shall be paid monthly in arrears and will be due on the first workday of each month and only as provided for by the lease.

The interest penalty shall be at the rate established by the Secretary of the Treasury under Section 12 of the Contract Disputes Act of 1978 (41 U.S.C. 611) that is in effect on the day after the due date.  This rate is referred to as the “Renegotiation Board Interest Rate,” and it is published in the Federal Register semiannually on or about January 1 and July 1.  Interest penalties of less than $1.00 need not be paid.

Interest penalties will not be paid on delays due to disagreement between the Government and Lessor over the payment amount, requests for additional information or other issues involving contract compliance or on amounts temporally withheld or retain in accordance with the terms of the contract.

Payments other than rent, the Lessor shall prepare and submit an invoice to the designated billing office after completion of the work.  An invoice shall include the following items:

(i)	Name and address of the Lessor.

(ii)	Invoice date.

(iii)	Lease Number

(iv)	Government’s order number or other authorization.

(v)	Description, price, and quantity of work or services delivered.

(vi)	Name and address of Contractor official to whom payment is to be sent

# D11 - Janitorial Services (10/96)

The Lessor shall maintain the leased premises, including outside areas in a clean condition and shall provide supplies and equipment.  Schedule * attached hereto and made a part hereof describes the level of and frequency of the services to be provided.

# D12 - Measurement For Payment (10/96)

The space will be mutually measured upon delivery.  Payment will be made on the basis of actual measurement; however, payment will not be made for delivered space, which is in excess of the maximum square footage solicited.

D13 - Non-Restoration (10/96)

The FAA shall have no obligation to restore and/or rehabilitate, either wholly or partially, the premises under this lease.  It is further agreed that the FAA may abandon in place any or all of the structures, improvements and/or equipment installed in or located upon said property by the FAA during its tenure.  Notice of abandonment will be conveyed to the Lessor in writing.

D14 – Occupancy Permit (8/02) - The premises offered shall have a valid Occupancy Permit, issued by the local jurisdiction, for the intended use of the Government, or the Offeror shall complete and provide a certified copy of  “FAA Safety & Environmental Checklist ” form, in lieu of an occupancy permit, at the contracting officer’s discretion.  The leased premises, all accesses to the leased premises, building operations, equipment, services, or utilities furnished by the Lessor, and activities of other occupants, shall be free of safety, health, and fire hazards.  When such hazards are detected, they must be promptly corrected at the Lessor's expense.

D15 - Operating Costs Escalator (10/96)

Beginning with the second year of the lease and each year after, Government shall pay adjusted rent for changes in costs for cleaning services, supplies, materials, maintenance, trash removal, landscaping, water, sewer charges, heating, electricity, and certain administrative expenses attributable to occupancy.

The amount shall be determined by multiplying the total first year's estimated costs of these items, as negotiated and established prior to the lease award, by the percent of change in the cost of living index from the base figure.  The base figure shall be the index figure published for the month prior to the lease commencement date.  The percent change shall be computed by comparing the base figure with the index figure published for the month, which begins each successive l2-month period.  For example, a lease which commences in June of 1981 would have as the base figure the index published for May of 1981, and that figure would be compared with the index published for May of 1982, May of 1983, and so on, to determine the percent change.  The U.S. Department of Labor Revised Consumer Price Index shall measure the cost of living index for Wage Earners and Clerical Workers, U.S. City Average, All Items figure, (1967=100) published by the Bureau of Labor Statistics.  Payment shall be made with the monthly installment of fixed rent.

Rental adjustments shall be effective on the anniversary date of the lease.  Payment of the adjusted rental rate shall become due on the first workday of the second month following the publication of the cost of living index for the month prior to the lease commencement date.

If Government exercises an option to extend the lease term at the same rate as that of the original term, the option price shall be based on the adjustments during the original term.  Annual adjustments will continue.

In the event of any decreases in the cost of living index occurring during the term of occupancy under the lease, the rental amount will be reduced accordingly.  The amount of any such reductions will be determined in the same manner as increases in rent provided under this clause.

The base for the operating costs adjustment will be $________.

D16-Plans (8/02)

Thirty days after occupancy, lessor must submit a final set of hard copy as-built plans and reproducible floor plans in l/8" scale depicting rented space and identifying entrances, exits, stairs, windows, partitions, closets, architectural, construction documents to include but not limited to electrical, mechanical, structural, fire protection, plumbing plans, architectural plans, lighting plans, furniture plans, installation plans, typical workstations, etc.  A CAD program compatible with the latest release of AutoCAD and accessible and readable by the Government for future use shall generate the plans.  The file(s) will be dwg format.  All files shall be submitted on 3-1/2-inch double-sided, high-density diskettes, or, if approved by the Contracting Officer, on CD-ROM or QIC (1/4-inch cartridge) tape.  The submitted disks shall be labeled with building name, address, list of drawing(s), date of the drawing(s), and Lessor's architect and phone number.   The Lessor’s operators shall demonstrate the submission on FAA equipment, if requested by the Real Estate Contracting Officer.

# D17 - Progressive Occupancy (10/96)

The Government shall pay rent only when the entire premises or suitable units are ready for occupancy.  If the agency occupies the space in partial increments, rent will accrue or be paid on a pro rata basis.  Rental payments shall become due on the first workday of the month following the month in which an increment of space is occupied, except that should an increment of space be occupied after the fifteenth day of the month, the payment due date will be the first workday of the second month following the month in which it was occupied.  The commencement date of the firm term will be a composite determined from all dates of incremental occupancy.

D18 - Tax Adjustment (10/96)

(a) The Government shall pay additional rent for its share of increases in real estate taxes over taxes paid for the calendar year in which its lease commences (base year).  Payment will be in a lump sum and become due on the first workday of the month following the month in which paid tax receipts for the base year and the current year are presented, or the anniversary date of the lease, whichever is later.  The Government will be responsible for payment only if the receipts are submitted within 60 calendar days of the date the tax payment is due.  If no full tax assessment is made during the calendar year in which the Government lease commences, the base year will be the year of a full assessment.

(b) The Government's share of the tax increase will be based on the ratio of the square feet occupied by the Government to the total rentable square feet in the building.  If the Government's lease terminates before the end of a calendar year, payment will be based on the percentage of the year in which the Government occupied space.  The payment will not include penalties for non-payment or delay in payment.  If there is any variance between the assessed value of the Government's space and other space in the building, the Government may adjust the basis for determining its share of the tax increase.

(c) The Government may contest the tax assessment by initiating legal proceedings on behalf of the Government and the Lessor or the Government alone.  If the Government is precluded from taking legal action, the Lessor shall contest the assessment upon reasonable notice by the Government.  The Government shall reimburse the Lessor for all costs and shall execute all documents required for the legal proceedings.  The Lessor shall agree with the accuracy of the documents. The Government shall receive its share of any tax refund.  If the Government elects to contest the tax assessment, payment of the rent shall become due on the first workday of the month following conclusion of the appeal proceedings.

(d) In the event of any decreases in real estate taxes occurring during the term of occupancy under the lease, the rental amount will be reduced accordingly.  The amount of any such reductions will be determined in the same manner as increases in rent provided under this clause.

# D19 - Time Extensions (10/96)

The lease will not be terminated nor the Lessor charged with resulting damage if delays arise from unforeseeable causes beyond the control of the Lessor and/or his contractors, subcontractors, suppliers, or another Government contractor.  However, the Lessor shall notify the Real Estate Contracting Officer, in writing, of any delay within 10 calendar days after it begins.  The Real Estate Contracting Officer shall ascertain the facts, determine the extent of the delay, and grant extensions when justified.

D20-Unauthorized Negotiating (10/96)

In no event shall the Lessor enter into negotiations concerning the space leased or to be leased with other than the real estate contracting officer or his designee.

D21-Wiring For Telephones (10/96)

The Government reserves the right to provide its own telephone service in the space to be leased.  It may have inside wiring and telephone equipment installed by the local telephone company or a private contractor.  Alternately, the FAA may wish to consider using inside wiring provided by the building, if available.  However, the final decision will remain the Government.

###### V.	SECTION E – SECURITY REQUIREMENTS (Revised 04/2003)

E1 – Facility Security

E1a - Security requirements for Government occupied space must meet minimum-security accreditation standards for the type of facility covered by this lease. The FAA Facility Security Management Program defines facility security accreditation standard levels.  The security requirements identified below are tailored specifically for the type of facility covered by this solicitation.  The Lessor shall provide or make accommodation to provide for all the security requirements listed herein for the leased premises covered by this lease agreement:

(List security requirements)

Contact your local Servicing Security Element (SSE) or if located in HQ, contact ASI.

The local SSE will determine any additional security upgrades that are required to meet accreditation and shall conduct a final security assessment of the building.  The Lessor shall provide maintenance services to the security upgrades installed within the leased premises and covered under this lease.

E1b - Government-Issued Keys, Identification Badges, Access Control Cards and Vehicle Decals

(1) It may become necessary for the Government to issue keys, identification (ID) cards, vehicle decals, and/or access control cards to the Lessor or to individual(s) employed or hired by the lessor to perform services.  Immediately upon completion or termination of the lease, the Lessor shall return all such Government-issued items to the issuing office with notification to the RECO, or designee. When individuals who have been issued such items are terminated or are no longer required to perform work, the Government-issued items shall be returned to the Government within three (3) workdays. Improper use, possession or alteration of FAA issued keys, ID cards, access control cards is a violation of security procedures and is prohibited.

(2) In the event such keys, ID cards, vehicle decals or access control cards are not returned, the Lessor understands and agrees that the Government may, in addition to any other withholding provision of the lease, withhold fees to cover the cost of replacement for each key, ID card, vehicle decal and access control card not returned.  If the keys, ID cards, vehicle decals, or access control cards are not returned within 30 days from the date the withholding action was initiated, the Lessor will forfeit any amount so withheld.

(3) Access to aircraft ramp/hangar areas is authorized only to those individuals displaying a flight line identification card and for vehicles, a current ramp permit issued in accordance with 49 CFR 1542.

(4) The Government retains the right to inspect, inventory, or audit ID cards, keys, vehicle decals, and access control cards issued to the Lessor or individual(s) employed or hired by the lessor to perform services in connection with the lease at the convenience of the Government. Any items not accounted for to the satisfaction of the Government shall be assumed to be lost and the provisions of subparagraph (3) above shall apply.

(5) Keys and access control cards shall be obtained from the RECO, or designee, who will require the Lessor, or individual(s) employed or hired by the Lessor to perform services, to sign a receipt for each key obtained. Lost keys, ID cards, vehicle decals, and access control cards shall immediately be reported concurrently to the RECO, or designee, and the (RECO, or designee, to insert name of SSE staff and facility management office)

(6) Each individual(s) employed or hired by the Lessor, during all times of on-site performance at the Government-leased facility, shall prominently display his/her current and valid identification card on the front portion of his/her body between the neck and waist.

(a) Individual(s) employed or hired by the Lessor to perform services under this lease shall submit complete documentation required under E2a, Suitability Requirements for Individual(s) Employed or Hired by the Lessor, below, and be authorized by the SSE to begin work prior to obtaining any ID media or vehicle decals.

(b) To obtain the ID card, each individual shall submit a DOT 1681 Form, signed by the individual and authorized by the RECO, or designee. The DOT 1681 shall be submitted at the same time the documentation outlined in E2a, Suitability Requirements for Individual(s) Employed or Hired by the Lessor, below is submitted.  The DOT 1681 shall contain, at a minimum, under the "Credential Justification" heading, the name of the Lessor, the lease number or the appropriate acquisition identification number, the expiration date of the lease or the service (whichever is sooner), and the required signatures. This paperwork shall be submitted to [RECO, or designee, to insert the name and location of the SSE staff] by the Lessor in a sealed envelope either hand carried by the Lessor or sent via U.S. mail to: [RECO or designee to insert mailing address]. The Lessor will be notified when the DOT 1681 has been approved and is ready for processing by the [RECO, or designee, to insert name and location of the person who will process the document]. Arrangements for processing the identification cards, including photographs and lamination can be made by contacting [RECO, or designee, to insert point of contact with phone number].

(c) The Lessor shall receive and sign for each ID card issued on the reverse of the DOT 1681. The Government, for accountability purposes, will track the DOT 1681.

(7) The Lessor is responsible for ensuring final out-processing is completed for all departing individuals employed or hired by the Lessor.  Final out-processing will be completed by close of business the final workday for all individual(s) employed or hired by the Lessor or the next day under special conditions.  Contractor employee clearance forms, (RECO, or designee, to insert name of local contractor employee clearance form), will be completed by the Lessor for each individual(s) employed or hired by the Lessor to perform services, and copies will be distributed to the RECO, or designee, and the SSE, (RECO, or designee, to insert SSE staff) upon completion of such forms.

E2 – Personnel Security

# E2a -Suitability Requirements for Individual(s) Employed or Hired by the Lessor

(1) The Lessor shall provide a level of security, which reasonably deters unauthorized access, loitering, or disruptive acts to the premises leased by the government at all times.

(2) When the Lessor provides services under the terms of this lease, (e.g., janitorial, construction, maintenance, property management, or alterations/repair services), the Government may conduct background investigations of individual(s) employed or to be hired by the Lessor to perform such services.

(3) Individual(s) will not be permitted unescorted access to provide services in or upon the leased premises until the SSE has received the documentation outlined in subparagraph (4), (a), (b), and (c), below and provided written authorization for the individual(s) to begin work.

(4) No later than ten (10) calendar days after the effective date of this lease, (or the effective date of Supplemental Lease Agreement [SLA] or modification if this provision is included by SLA or modification to an existing lease), the Lessor shall submit the following documentation for all individual(s) employed or hired by the Lessor for whom unescorted access to facilities, systems, and information is required.  Such documentation shall be submitted to the Government representative as designated by the Real Estate Contracting Officer (RECO), or designee, for suitability determination.

(a) A completed FBI Fingerprint Card, FD-258.  The SSE will provide information pertaining to the location of fingerprint facilities.  The fingerprint card shall be printed in black ink or typewritten with all questions completed and is to be signed and dated by the applicant.  The Lessor will be responsible for all expenses associated with fingerprinting;

(b)  A completed Identification Card/Credential Application, DOT Form 1681, with appropriate picture of applicant; and,

(c) Questionnaire for Public Trust Positions, Standard Form 85P, shall be completed and signed by the applicant in accordance with applicable instructions.

(5) The Government shall notify the Lessor when individual(s) employed or hired by the Lessor have been approved for unescorted access to the facilities, systems, or information.

(6) The Lessor and all individuals employed or hired by the Lessor shall display a Government issued identification badge when visiting or providing services in or upon the leased premises and shall abide by all facility security measures as required by the Government.

(7) The Lessor shall submit the documentation required in subparagraph (4), (a), (b), and (c) of this Clause for any new individual(s) employed or hired by the Lessor to perform services under this lease.  Such information shall be submitted to the Government within ten (10) calendar days of employment and/or hiring by the Lessor.

(8) The Lessor will immediately remove from the leased premises any individual(s) employed or hired by the Lessor to perform services under this lease when the Government has determined such individuals to be unsuitable for continued access to the leased premises.

# (9) Exemptions from Suitability Requirements

- Certain positions may be determined by the Government to be exempt from background investigative requirements.  However, individual(s) employed or hired for such positions shall be escorted at all times while in or upon the leased premises by FAA personnel located on-site or by an individual(s) employed or hired by the lessor, who has been properly investigated, favorable adjudicated, and authorized to provide escort services.

- When the Government determines any positions(s) to be exempt from investigative requirements, individuals employed in such positions are not required to complete the documentation as specified in subparagraph (4), (a), (b), and (c) of this Clause.

# E2b - Reporting Requirements

(1) The Lessor shall submit an initial report (to coincide with the effective date of this lease) and subsequent quarterly reports (throughout the term of this lease), providing the following information to (RECO, or designee, to fill in as appropriate) with a copy to (RECO, or designee, to fill in as appropriate), on or before the fifth day following each reporting period:  A complete listing by full name, in alphabetical order, with the date of birth, place of birth (city, state, country), and position title of all individuals employed or hired by the lessor who will have or may require access to the leased premises during the reporting period.

(2) The Lessor shall notify the Government within one (1) day upon termination of any individual(s) employed or hired by the Lessor to perform services under this lease.

# E2c - Foreign Nationals Employed or Hired by the Lessor

(1) Each individual(s) employed or hired by the lessor to perform services under this lease shall be   a citizen of the United States of America, or an alien who has been lawfully admitted for permanent residence as evidenced by Alien Registration Receipt Card Form I-151, or who presents other evidence from the United States Immigration and Naturalization Service that employment will not affect his/her immigration status.

(2) Aliens and foreign nationals employed or hired by the lessor to perform services under this lease must have resided within the United States for three (3) years of the last five (5) years unless a waiver of this requirement has been granted by the SSE in accordance with FAA regulations.

# E3  -  Sensitive Unclassified Information

E3a - The FAA shall have the right to require special handling instructions for those lessors requiring access to Sensitive Unclassified Information (SUI), For Official Use Only (FOUO), Sensitive Security Information (SSI), or designee assigned by the Federal Government to identify unclassified information that may be withheld from public release.  Contact the local FAA Servicing Security Element (SSE) or in Headquarters, the Office of Security and Investigations, Internal Security Division, ASI-100 for the minimum standards to mark, store, control, transmit, and destroy sensitive information.

E3b - Sensitive information shall be restricted to specific lessors who:

- have a need to know to perform contract tasks;

- who meet personnel suitability security requirements to access sensitive information; and

- who successfully complete a non-disclosure agreement (NDA).

E3c - The contractor shall develop and implement procedures to ensure that sensitive information is handled in accordance with FAA requirements and at a minimum, will address:

- steps to minimize risk of access by unauthorized persons during business and non-business

hours to include storage capability;

- procedures for safeguarding during electronic transmission (voice, data, fax) mailing or hand carrying;

- procedures for protecting against co-mingling of information with general contractor data systems/files;

- procedures for marking documents with both the protective marking and the distribution limitation statement as needed;

- procedures for the reproduction of;

- procedures for reporting unauthorized access; and

(7)  procedures for the destruction and/or sanitization of such material.

VI.	SECTION E - SPECIAL REQUIREMENTS (if applicable)

VII.	CERTIFICATION FORMS (8/02) -

See attached forms:

- Certification of Seismic Compliance

- FAA Safety and Environmental Certification Checklist

- Vendor/Miscellaneous Payment Information Form